ENVIRONMENTAL INSPECTION ACCORDING TO ART. 32 OF LAW ON INSPECTION SUPERVISION

# INSTALLATION: name, A/B IPPC code, town, location

# CHECKLIST – NON/ROUTINARY/CONTROL INSPECTION

# A/B-IPPC PERMIT NUMBER XXXXX

# Issued on xxxx, according to the Law of Environment (part XII)

IMPORTANT PRELIMINARY INFORMATION:

The following checklist is a template that can be used by inspectors to prepare their own checklist during the preparation of the inspection to a meat processing plant. The Best Available Techniques (BATs) which have been included in this template belong mainly to the BAT Reference Document (BREF) for  Slaughterhouses. If a BAT is mentioned in the template which does not belong to that BREF, the name of the corresponding BREF is provided.

The other BREFs mentioned are on the food, drink, milk industries (FDM) and on Waste Treatment Industries. See more information about these BREF documents and this kind of installations in the Factsheet for the meat processing sector prepared by the Twinning project supporting SEI, which is available in SEI’s website, http://www.sei.gov.mk , in the section “Documents & links”.

This template of checklist is meant to provide a structure for a homogeneous definition of inspection checklists.

The present checklist includes the following boxes, providing examples of relevant topics to be checked:

GENERAL DATA

General elements of management

Communication duties

SECTORIAL TOPICS

Air emissions

Noise and vibration

Waste water

Soil and groundwater

Waste

Energy consumption and efficiency

LIST OF POLLUTANTS TO BE ASSESSED

# GENERAL DATA

| Date of Inspection |  |
| --- | --- |
| Type of Inspection | ( Routinary ( Non Routinary ( Control (follow-up) |
| Field of inspection | ( Integrated (all environmental impacts checked) ( Partial (specify laws checked) |
| Name of Company |  |
| Location of the plant |  |
| Legal address |  |
| Industrial activity | Slaughterhouse – meat processing |
| Permit (number, date and title) |  |
| Permit holder |  |
| Telephone |  |
| E-mail |  |
| Contact person for integrated permit-related issues |  |
| Representative competent authority |  |

ADMINISTRATIVE ORGANISATION / INTERNAL CONTROL

| TOPIC: GENERAL ELEMENTS OF MANAGEMENT |
| --- |
| Topic | What does the permit /National law say | What do the BREFs say | What to check | What has been observed |
| Presentation of the current state of the plant by the operator by means of layout and drawings |  | BREF Slaughterhouses Devices for: Cold storage of animal by-products (4.1.27 – p. 186) Emergency lagoon in excess of routine requirements (4.1.43.1 – p. 206) BREF: Waste treatment industries BAT 24b (p. 518) | Check whether any modification of the plant occurred which has not been authorized. Check the storage facilities of animals, animal by-products (solids, blood), waste collection/disposal facilities. Check the drainage infrastructure and whether it is connected with the overall drainage system of the installation. Check whether an emergency lagoon for waste water is on place. |  |
| Environmental Management System (EMS) |  | BREF Slaughterhouses/FDM Use an environmental management system (5.1.1.1.- p. 374/ 4.1.1 – p. 211 & 5.1.1 – p. 594) | Check the implementation of a structured EMS. In case the installation is EMAS or ISO14001, check validity of the certificate. Interview with operator to assess the application of the procedures. Check whether the proposed EMS contains specific procedures/benchmarking of Energy efficiency and energy conservation activities Choice of input materials Emissions to air Discharges to water Consumption of water Generation of waste. |  |
| Training of personnel |  | Foreseen in the EMS | Check the existence and execution of a Training Plan on environmental topics (relevant to the installation). |  |
| Management of accidents/incidents |  | BREF Slaughterhouses Provide a waste water holding capacity in excess of routine requirements (4.1.43.1 – p. 206) Overfilling protection on bulk storage tanks, e.g. containing blood or tallow (4.1.13 – p. 169) | Check how incidents have been managed: procedures in place, register of events, follow-up actions to repair/correct: Is there an emergency lagoon? Are level detection devices of storage tanks installed/ operated? |  |
| Register of Maintenance |  | Foreseen in the EMS | Check the presence of a Register where the operator takes note of maintenance services occurred in the plant. |  |
| xxxx |  |  |  |  |
| xxxx |  |  |  |  |

| TOPIC: COMMUNICATION DUTIES |
| --- |
| Topic | What does the permit /National law say | What do the BREFs say | What to check | What has been observed |
| Self-monitoring report |  | Foreseen in the EMS | Check the correct delivery to the Competent Authority of the self-monitoring report. Check results of the monitoring. |  |
| Incidents/Emission Limit Values (ELVs) |  |  | Check if the operator communicates incidents and exceedances of ELVs to the competent authority. |  |
| Installation changes |  |  | Check that the operator asked for authorization for making changes to the installation, as specified in legislation. |  |
| xxxx |  |  |  |  |
| xxxx |  |  |  |  |
| xxxx |  |  |  |  |
| xxxx |  |  |  |  |

SECTORIAL TOPICS

| TOPIC: AIR EMISSIONS |
| --- |
| Topic | What does the permit /National law say | What do the BREFs say | What to check | What has been observed |
| Pollution abatement systems |  |  | Air emissions collection Air emissions treatment |  |
| Pollution abatement systems |  |  | Concentration and quantity of contaminants before and after the treatment. Duration of operation daily/annually (h) |  |
| Air emission continuous monitoring |  |  | Check the programme of maintenance and calibration of the air emission measurements equipment |  |
| Sampling points |  |  | Check correctness of sampling points according to EU standards |  |
| Dust |  | BREF Slaughterhouses Dust collection at poultry reception – fabric filter - wet scrubber - metal mesh (4.2.3.1.2, 4.2.3.1.3, 4.2.3.1.4 – p. 279-280). | Check which type (fabric filter, wet scrubber, metal mesh) is installed and operated. Check what is happening with the collected dust (e.g. transport to landfill?). |  |
| Odour |  | Audit all individual sources of odour and factors which influence the rate and type of malodorous emissions (4.1.28 – p. 188). | Specific places to be inspected: blood collection tanks, offal intake area, main plant, finished goods area, tanker loading area, boiler outlet, carbon filter outlet, balance tank, waste water aeration tanks. |  |
| Greenhouse gases |  |  |  |  |
| xxxx |  |  |  |  |

| TOPIC: NOISE AND VIBRATION |
| --- |
| Topic | What does the permit /National law say | What do the BREFs say | What to check | What has been observed |
| Noise |  | BREF Slaughterhouses BAT is to reduce noise at the main noise sources (4.1.36, 4.1.37, 4.1.38, 4.1.39 – p. 198-202) | Check the operation of roof extract fans, balance lagoon blowers and refrigeration plants |  |
| xxxx |  |  |  |  |

| TOPIC: WASTE WATER |
| --- |
| Topic | What does the permit /National law say | What do the BREFs say | What to check | What has been observed |
| Pollution abatement systems |  | BREF Slaughterhouses Apply an initial screening of solids using at the slaughterhouse or animal by-products facilities installation sieves (4.1.43.4 – p. 208) Use a waste water equalisation tank (4.1.43.11 – p. 219) Remove fat from waste water, using a fat trap (4.1.43.9 – p. 215) Use a flotation plant, possibly combined with the use of flocculants, to remove additional solids ( 4.1.43.10 – p.216) Use a waste water equalisation tank (4.1.43.11 – p. 219) Subject the effluent to a biological treatment process (4.1.43.15 – p. 223) Anaerobic pre-treatment using down-flow or up-flow reactors (4.1.43.14 – p. 221) Subject the resulting effluent to tertiary treatment (in own or municipal WWTP) | Check whether the relevant treatment facilities are in place: Sieves Equalization tank Emergency lagoon Fat trap Anaerobic pre-treatment Flotation plant Own biological WWTP Check the records (kept by operator) concerning the total waste water quantity (m3/day) and the concentration of contaminants after final treatment (exit of own WWTP – entrance to municipal WWTP) Check the level of treatment applied in the municipal WWTP (tertiary treatment?) |  |
| Water use conservation measures |  | Apply dedicated metering of water consumption (4.1.4 – p.162) Separate process and non-process waste water (4.1.5 – p. 163) Dry clean installations and transport by-products dry (4.1.12 – p. 168), followed by pressure cleaning (4.1.10 – p. 167) using hoses fitted with hand-operated triggers (4.1.9 – p. 166) and where necessary hot water supplied from thermostatically controlled steam and water valves (4.1.23 – p. 183) | Check whether metering devices are installed at the major water supply devices: cleaning of floors/ equipment, hot water supply Inspect whether the cooling water (closed loop system) is separated from the process water and whether it is eventually sometimes discharged into the WWTP (for dilution purposes) Inspect how the by-products are collected/ transported (dry collection/ transport?) and how frequent floors/devices are cleaned with water. |  |

| TOPIC: SOIL AND GROUNDWATER |
| --- |
| Topic | What does the permit /National law say | What do the BREFs say | What to check | What has been observed |
| Disposal of carcasses, sludges, by-products |  |  | Inspect the places where any solid residues are dumped/ disposed of: Are these areas covered? Any underground sealing in place? |  |
| Rainwater |  | (BREF “Common Waste Water and Waste Gas Treatment/ Management Systems in the Chemical Sector”) Process water should be segregated from rainwater and other water effluent, to allow reuse or recycling, as well as to minimise the amount of waste water which requires treatment, the installation of a roof over certain process areas, loading and unloading bays, etc. Prevention of uncontrolled effluents from the site, such as contaminated rainwater. Rainwater from production areas is collected either in sumps on the spot or in other central facilities (e.g. emergency storage tanks or lagoons) to allow inspection and then a decision is to be made on whether to discharge it directly to the receiving water or to a waste water treatment facility. | Existence of systems to separate and treat first flush rainwater from later rainfall |  |
| Tank bunds |  | (BREF “Emissions from Storage”) Design a tank farm bund (or dike) to contain large spills, such as that caused by a shell rupture or a large overfill. The bund consists of a wall around the outside of the tank (or tanks) to contain any product in the unlikely event of a spill personnel both on and off-site. The volume is normally sized to accommodate the contents of the largest tank within the bund. | Presence of tank bunds to contain spills from storage tanks and drums of waste, to prevent soil contamination in case of leakage. |  |

| TOPIC: WASTE |
| --- |
| Topic | What does the permit /National law say | What do the BREFs say | What to check | What has been observed |
| Collection/Storage |  | BREF Slaughterhouses Segregation of collected by-products (4.2.1.6 – p. 232) | Check where offal, feathers and any other non-usable by-products are separately collected and stored Check how manure from lairage is collected (dry collection?) |  |
| Waste generated |  |  | Waste classification (according to national list of waste) EWC category: 02 02 Check the records (kept by the operator) concerning the quantity of each waste/by-product (kg/day) |  |
| Disposal/recycling |  |  | Check the disposal/recycling route: Disposal (where are they disposed of – municipal landfill?) Recycling ((according to applicable national waste legislation) Are they recycled within the facility? Are they transported to other facilities for re-use/ recycling? |  |

| TOPIC: ENERGY CONSUMPTION/EFFICIENCY |
| --- |
| Topic | What does the permit /National law say | What do the BREFs say | What to check | What has been observed |
|  |  | BREF Slaughterhouses Implement energy management systems (4.1.16, 4.1.17 – p. 171 & 173) Operate controls over refrigeration plant running times (4.1.19 – p. 179) Rationalise and insulate steam and water pipework (4.1.24 – p. 184) Isolate steam and water services (4.1.25 – p. 185) Fit and operate chill room door closing switches (4.1.21 – p. 182) | Check whether sequencing/time controls are installed for the refrigeration operations Check the whole insulation system and the placing of isolation valves in the pipework for steam supply Inspect how the chill room doors are operated (are there any sirens installed for warning of open doors?) |  |

LIST OF POLLUTANTS TO BE ASSESSED

| Air emission pollutants | Waste water pollutants |
| --- | --- |
| SO2 | Organohalogen compounds |
| Other S compounds | Organophosphorus compounds |
| NOx | Organotin compounds |
| Other N compounds | Substances / mixtures possessing carcinogenic/mutagenic properties |
| CO | Persistent hydrocarbons and persistent and bioaccumulable organic toxic substances |
| VOC | CN |
| Metals | Metals |
| Metals compounds | Metals compounds |
| Fine particulate matter | As |
| Asbestos suspended particulates | As compounds |
| Asbestos fibres | Biocides |
| Cl | Suspended solids X |
| Cl compounds | Nitrates X |
| F | Phosphates X |
| F compounds | BOD5 X |
| As | COD X |
| As compounds |  |
| CN |  |
| Substances / mixtures possessing carcinogenic/ mutagenic properties |  |
| Polychlorinated dibenzodioxins |  |
| Polychlorinated dibenzofurans |  |

# Footnotes

Define the kind and code of industrial activity according to the Annex I and II of the Ordinance 89/05

This list is not meant to be exhaustive; it lists common pollutants that it is usually worth to detect. Pollutants relevant to this sector are marked (X)